## CODES CONVERSION TABLE
Codes Conversion Table
4 WAYS REVERSING VALVES
SANHUA
SHF OLD VERSION |  |  |  |  | NEW RANGE
Short Model Name | Full Model Name | Part Number | Tube "D" [ inch ] | Tube "E/S/C" [ inch ] | Full Model Name | Part Number | Note:
SHF 4 | SHF(L)-4H-23U | SHF-19001 | 5/16" | 3/8" | SHF(L)-4H-23U-51 | SHF-19008
SHF 7 | SHF(L)-7H-34U | SHF-19002 | 3/8" | 1/2" | SHF(G)-7C-34U | SHF-19009 | Not perfectly interchangeable
SHF 9 | SHF(L)-9H-35U | SHF-19003 | 3/8" | 5/8" | SHF(L)-11H-35U-51 | SHF-19013 | Not perfectly interchangeable
SHF 11 | SHF(L)-11H-45D1 | SHF-19004 | 1/2" | 5/8" | SHF(L)-11H-45D1-51 | SHF-19014
SHF 14 | SHF-14-46 | SHF-50001 | 1/2" | 3/4" | SHF-14A-46 | SHF-50033
SHF 14 | SHF-14-47 | SHF-50002 | 1/2" | 7/8" | - | -
SHF 14 | SHF-14-57 | SHF-50003 | 5/8" | 7/8" | - | -
SHF 20 | SHF-20A-46 | SHF-50004 | 1/2" | 3/4" | SHF-20D-46-02 | SHF-50022
SHF 20 | SHF-20A-47 | SHF-50005 | 1/2" | 7/8" | SHF-20D-47-02 | SHF-50041
SHF 20 | SHF-20A-57 | SHF-50006 | 5/8" | 7/8" | SHF-20D-57-02 | SHF-50042
SHF 20 | SHF-20A-67 | SHF-50007 | 3/4" | 7/8" | SHF-20D-67-02 | SHF-50043
SHF 20 | SHF-20D-46-02 | SHF-50008 | 1/2" | 3/4" | SHF-20D-46-02 | SHF-50022
SHF 35 | SHF-35A-47 | SHF-50009 | 1/2" | 7/8" | SHF-35B-47-04 | SHF-50044
SHF 35 | SHF-35A-57 | SHF-50010 | 5/8" | 7/8" | SHF-35B-57-04 | SHF-50045
SHF 35 | SHF-35A-59 | SHF-50011 | 5/8" | 1-1/8" | SHF-35B-59-04 | SHF-50046
SHF 35 | SHF-35A-67 | SHF-50012 | 3/4" | 7/8" | SHF-35B-67-04 | SHF-50027
SHF 35 | SHF-35A-69 | SHF-50013 | 3/4" | 1-1/8" | SHF-35B-69-04 | SHF-50047
SHF 35 | SHF-35A-79 | SHF-50014 | 7/8" | 1-1/8" | SHF-35B-79-04 | SHF-50048
SHF 35 | SHF-35B-67-02 | SHF-50015 | 3/4" | 7/8" | SHF-35B-67-04 | SHF-50027
SHF 50 | SHF-50-911D2 | SHF-50016 | 1-1/8" | 1-3/8" | SHF-50-911D2 | SHF-50016
SHF 70 | SHF(L)-70-810 | SHF-50017 | 1" | 1-1/4" | SHF(L)-70-810 | SHF-50017
SHF 70 | SHF(L)-70-810-01 | SHF-50024 | 1" | 1-1/4" | SHF(L)-70-810-01 | SHF-50024
SHF 100 | SHF(L)-100-1012 | SHF-50018 | 1-1/4" | 1-1/2" | SHF(L)-100-1012 | SHF-50018
SHF 100 | SHF(L)-100-1012-01 | SHF-50025 | 1-1/4" | 1-1/2" | SHF(L)-100-1012-01 | SHF-50025
SHF 140 | SHF(L)-140-1214 | SHF-50019 | 1-1/2" | 1 3/4" | SHF(L)-140-1214 | SHF-50019
SHF 175 | SHF(L)-175-1217 | SHF-50020 | 1-1/2" | 2-1/8" | SHF(L)-175-1217 | SHF-50020
SHF 210 | SHF(L)-210-1321 | SHF-50021 | 1-5/8" | 2-5/8" | SHF(L)-210-1321 | SHF-50021
SHF 350 | SHF(L)-350-1721 | SHF-50031 | 2-1/8" | 2-5/8" | SHF(L)-350-1721 | SHF-50031
SHF 420 | SHF(L)-420-2125 | SHF-50032 | 2-5/8" | 3-1/8" | SHF(L)-420-2125 | SHF-50032
SHF_HP OLD VERSION |  |  |  |  | NEW RANGE
Short Model Name | Full Model Name | Part Number | Tube "D" [ inch ] | Tube "E/S/C" [ inch ] | Full Model Name | Part Number | Note:
SHF 4 | SHF(L)-4H-23U-E | SHF-19005 | 5/16" | 3/8" | SHF(L)-4H-23U-51 | SHF-19008
SHF 7 | SHF(L)-7H-34U-E | SHF-19006 | 3/8" | 1/2" | SHF(G)-7C-34U | SHF-19009 | Not perfectly interchangeable
SHF 20 | SHF-20D-46-02-E | SHF-50022 | 1/2" | 3/4" | SHF-20D-46-02 | SHF-50022
SHF 35 | SHF-35B-67-02-E | SHF-50023 | 3/4" | 7/8" | SHF-35B-67-04 | SHF-50027

## DANFOSS vs SHF
Cross Reference |  | 20150326
4 WAYS REVERSING VALVES
Note: Sanhua declines all the responsabilities for a wrong product choise based on this table
DANFOSS / SAGINOMIYA | [8 empty] | SANHUA
Name | Alternative Name | Part Number | Alternative Part Number | Style | Tube "D" [ inch ] | Tube "E/S/C" [ inch ] | Capacity R407C DP: 0,1 bar [kW] | Capacity R410A DP: 0,1 bar [kW] | Name | Part Number | Style | Tube "D" [ inch ] | Tube "E/S/C" [ inch ] | Capacity R407C DP: 0,1 bar [kW] | Capacity R410A DP: 0,1 bar [kW]
STF-0101G |  | 061L1188 | 061L1206 | A1 | 5/16" | 3/8" | 3.48 | 4.16 | SHF(L)-4H-23U-51 | SHF-19008 | A1 | 5/16 | 3/8 | 3.2455 | 3.7979
STF-0104G |  | 061L1143 |  | A1 | 5/16" | 3/8" | 4.11 | 4.91 | SHF(L)-4H-23U-51 | SHF-19008 | A1 | 5/16 | 3/8 | 3.2455 | 3.7979
STF-0201G |  | 061L1144 | 061L1207 | A1 | 3/8" | 1/2" | 6.63 | 7.94 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
STF-0202G |  | 061L1189 |  |  | 3/8" | 1/2" | 6.63 | 7.94 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
STF-0204G |  | 061L1145 |  | D-Sagi | 3/8" | 5/8" | 6.63 | 7.94 | SHF(L)-11H-35U-51 | SHF-19013 | A3 | 3/8 | 5/8 | 9.1281 | 10.6816
STF-0205G |  | 061L1146 |  | D | 5/16" | 1/2" | 6.63 | 7.94
STF-0208G |  | 061L1147 |  | B | 3/8" | 5/8" | 6.63 | 7.94 | SHF(L)-11H-35U-51 | SHF-19013 | A3 | 3/8 | 5/8 | 9.1281 | 10.6816
STF-0209G |  | 061L1148 |  | D | 3/8" | 1/2" | 6.63 | 7.94 | SHF(G)-11C-34U | SHF-19012 | A2 | 3/8 | 1/2 | 7.9 | 9.3
STF-0214G |  | 061L1149 |  | D-Sagi | 1/2" | 5/8" | 6.63 | 7.94 | SHF(L)-11H-45D1-51 | SHF-19014 | C2 | 1/2 | 5/8 | 9.1281 | 10.6816
STF-0301G |  | 061L1194 | 061L1208 | C | 1/2" | 5/8" | 8.06 | 9.63 | SHF(L)-11H-45D1-51 | SHF-19014 | C2 | 1/2 | 5/8 | 9.1281 | 10.6816
STF-0306G |  | 061L1151 |  | C | 1/2" | 3/4" | 8.06 | 9.63 | SHF(L)-11H-46D1-51 | SHF-19015 | C2 | 1/2 | 3/4 | 9.1281 | 10.6816
STF-0401G |  | 061L1152 | 061L1209 | D | 1/2" | 3/4" | 14.7 | 17.58 | SHF-20D-46-02 | SHF-50022 | D1 | 1/2 | 3/4 | 19.2704 | 22.55
STF-0409G |  | 061L1154 |  | D | 1/2" | 7/8" | 14.7 | 17.58 | SHF-20D-47-02 | SHF-50041 | D1 | 1/2 | 7/8 | 19.2704 | 22.55
STF-0413G |  | 061L1155 |  | D | 5/8" | 7/8" | 14.7 | 17.58 | SHF-20D-57-02 | SHF-50042 | D1 | 5/8 | 7/8 | 20.0817 | 23.4995
STF-0404G |  | 061L1193 |  | D | 1/2" | 3/4" | 16.76 | 20.03 | SHF-20D-46-02 | SHF-50022 | D1 | 1/2 | 3/4 | 19.2704 | 22.55
STF-0420G |  | 061L1156 |  | D | 1/2" | 7/8" | 16.76 | 20.03 | SHF-20D-47-02 | SHF-50041 | D1 | 1/2 | 7/8 | 20.0817 | 23.4995
STF-0712G |  | 061L1195 | 061L1223 | D | 3/4" | 7/8" | 24.98 | 29.85 | SHF-35B-67-04 | SHF-50027 | D1 | 3/4 | 7/8 | 29.8183 | 34.8931
STF-0715G |  | 061L1158 |  | D | 7/8" | 1-1/8" | 24.98 | 29.85 | SHF-35B-79-04 | SHF-50048 | D1 | 7/8 | 1 1/8 | 29.8183 | 34.8931
STF-0728G |  | 061L1160 |  | D | 7/8" | 7/8" | 24.98 | 29.85
STF-1511G |  | 061L1224 |  | D | 7/8" | 1-1/8" | 27.82 | 33.25 | SHF-35B-79-04 | SHF-50048 | D1 | 7/8 | 1 1/8 | 29.8183 | 34.8931
STF-1513G |  | 061L1217 |  | D | 7/8" | 1-3/8" | 27.82 | 33.25
STF-1514G |  | 061L1218 |  | D | 1-1/8" | 1-3/8" | 27.82 | 33.25
STF-2011G |  | 061L1219 |  | D | 7/8" | 1-1/8" | 35.56 | 42.52 | SHF-50A-79 | SHF-50038 | D1 | 7/8 | 1 1/8 | 37.1208 | 43.4384
STF-2017G |  | 061L1225 |  | D | 1-1/8" | 1-3/8" | 35.56 | 42.52 | SHF-50-911D2 | SHF-50016 | E | 1 1/8 | 1 3/8 | 37.5265 | 43.9131
VHV-2501 | STF-2501G | 061L1278 |  | F | 1" | 1-1/4" | 53.74 | 64.24 | SHF(L)-70-810-01 | SHF-50024 | F | 1 | 1 1/4 | 57.8111 | 67.65
VHV-2505 | STF-2505G | 061L1279 |  | F | 1-1/8" | 1-3/8" | 53.74 | 64.24 | SHF(L)-70-911-01 | SHF-50050 | F | 1 1/8 | 1 3/8 | 57.8111 | 67.65
VHV-2506 | STF-2506G | 061L1280 |  | F | 1-1/8" | 1-5/8" | 53.74 | 64.24 | SHF(L)-70-913-05 | SHF-50052 | D1 | 1 1/8 | 1 5/8 | 57.8111 | 67.65
VHV-3001 | STF-3001G | 061L1281 |  | F | 1-1/4" | 1-1/2" | 75.87 | 90.71 | SHF(L)-100-1012-01 | SHF-50025 | F | 1 1/4 | 1 1/2 | 82.1526 | 96.1342
VHV-3003 | STF-3003G | 061L1282 |  | F | 1-1/8" | 1-5/8" | 75.87 | 90.71 | SHF(L)-100-913-01 | SHF-50056 | F | 1 1/8 | 1 5/8 | 82.1526 | 96.1342
VHV-3006 | STF-3006G | 061L1283 |  | F | 1-1/4" | 1-5/8" | 75.87 | 90.71 | SHF(L)-100-1013-01 | SHF-50058 | F | 1 1/4 | 1 5/8 | 82.1526 | 96.1342
VHV-4001 | STF-4001G | 061L1284 |  | F | 1-1/2" | 1-3/4" | 105.9 | 126.61 | SHF(L)-140-1214 | SHF-50019 | F | 1 1/2 | 1 3/4 | 118.462 | 138.6231
VHV-4002 | STF-4002G | 061L1285 |  | F | 1-5/8" | 1-5/8" | 105.9 | 126.61 | SHF(L)-140-1313 | SHF-50061 | F | 1 5/8 | 1 5/8 | 118.462 | 138.6231
VHV-4003 | STF-4003G | 061L1293 |  | F | 1-3/8" | 1-5/8" | 105.9 | 126.61 | SHF(L)-140-1113 | SHF-50059 | F | 1 3/8 | 1 5/8 | 118.462 | 138.6231
VHV-5001 | STF-5001G | 061L1286 |  | F | 1-1/2" | 2-1/8" | 137.52 | 157.78 | SHF(L)-175-1217 | SHF-50020 | F | 1 1/2 | 2 1/8 | 143.0063 | 167.3447
VHV-5002 | STF-5002G | 061L1287 |  | F | 1-5/8" | 2-1/8" | 137.52 | 157.78 | SHF(L)-175-1317 | SHF-50062 | F | 1 5/8 | 2 1/8 | 143.0063 | 167.3447
VHV-6001 |  | 061L1186 |  | F | 1-5/8" | 2-5/8" | 192.52 | 242.57 | SHF(L)-210-1321 | SHF-50021 | F | 1 5/8 | 2 5/8 | 171.2019 | 200.3389
Condition: 54,4 °C condensing / 7,2°C evaporating / 5°C super-heat / 5°C sub-cooling

## RANCO vs SHF
Cross Reference
4 WAYS REVERSING VALVES
Note: Sanhua declines all the responsabilities for a wrong product choise based on this table
RANCO | [5 empty] | SANHUA
Name | Tube "D" [ inch ] | Tube "E/S/C" [ inch ] | Style | Capacity R407C DP: 0,1 bar [kW] | Capacity R410A DP: 0,1 bar [kW] | Name | Part Number | Style | Tube "D" [ inch ] | Tube "E/S/C" [ inch ] | Capacity R407C DP: 0,1 bar [kW] | Capacity R410A DP: 0,1 bar [kW]
C01C00S | 5/16 | 3/8 | A1 | 5.0336 | 5.8903 | SHF(L)-4H-23U-51 | SHF-19008 | A1 | 5/16 | 3/8 | 3.2455 | 3.7979
C02C00S | 3/8 | 1/2 | A1 | 8.5147 | 9.9639 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
C03C00S | 1/2 | 5/8 | C2 | 10.7446 | 12.5732 | SHF(L)-11H-45D1-51 | SHF-19014 | C2 | 1/2 | 5/8 | 9.1281 | 10.6816
C05C00S | 1/2 | 3/4 | D1 | 18.2372 | 21.341 | SHF-20D-46-02 | SHF-50022 | D1 | 1/2 | 3/4 | 20.0817 | 23.4995
N10C00S | 3/4 | 7/8 | D1 | 32.0989 | 37.5619 | SHF-35B-67-02 | SHF-50027 | D1 | 3/4 | 7/8 | 29.8183 | 34.8931
N15C00G | 7/8 | 1 1/8 | D1 | 42.4389 | 49.6616 | SHF-50A-79 | SHF-50038 | D1 | 7/8 | 1 1/8 | 37.1208 | 43.4384
N15C00S | 7/8 | 1 1/8 | D1 | 42.4389 | 49.6616 | SHF-50A-79 | SHF-50038 | D1 | 7/8 | 1 1/8 | 37.1208 | 43.4384
N20C00G | 1 | 1 1/4 | D1 | 63.5946 | 74.4178 | SHF(L)-70-810 | SHF-50017 | D1 | 1 | 1 1/4 | 57.8111 | 67.65
N20C10G | 1 | 1 1/4 | F | 63.5946 | 74.4178 | SHF(L)-70-810-01 | SHF-50024 | F | 1 | 1 1/4 | 57.8111 | 67.65
N20C01G | 1 1/8 | 1 3/8 | D1 | 63.5946 | 74.4178 | SHF(L)-70-911 | SHF-50049 | D1 | 1 1/8 | 1 3/8 | 57.8111 | 67.65
N20C11G | 1 1/8 | 1 3/8 | F | 63.5946 | 74.4178 | SHF(L)-70-911-01 | SHF-50050 | F | 1 1/8 | 1 3/8 | 57.8111 | 67.65
N20C13G | 1 1/8 | 1 5/8 | F | 63.5946 | 74.4178 | SHF(L)-70-913-05 | SHF-50052 | F | 1 1/8 | 1 5/8 | 57.8111 | 67.65
N30C00G | 1 1/4 | 1 1/2 | D1 | 94.6292 | 110.7342 | SHF(L)-100-1012 | SHF-50018 | D1 | 1 1/4 | 1 1/2 | 82.1526 | 96.1342
N30C10G | 1 1/4 | 1 1/2 | F | 94.6292 | 110.7342 | SHF(L)-100-1012-01 | SHF-50025 | F | 1 1/4 | 1 1/2 | 82.1526 | 96.1342
N30C11G | 1 1/8 | 1 3/8 | F | 94.6292 | 110.7342 | SHF(L)-100-911-01 | SHF-50054 | F | 1 1/8 | 1 3/8 | 82.1526 | 96.1342
N30C12G | 1 1/8 | 1 5/8 | F | 94.6292 | 110.7342 | SHF(L)-100-913-01 | SHF-50056 | F | 1 1/8 | 1 5/8 | 82.1526 | 96.1342
N30C16G | 1 1/4 | 1 5/8 | F | 94.6292 | 110.7342 | SHF(L)-100-1013-01 | SHF-50058 | F | 1 1/4 | 1 5/8 | 82.1526 | 96.1342
N40C10G | 1 1/4 | 1 5/8 | F | 125.0594 | 146.3433 | SHF(L)-140-1213 | SHF-50060 | F | 1 1/2 | 1 5/8 | 118.462 | 138.6231
N40C11G | 1 1/2 | 1 5/8 | F | 125.0594 | 146.3433 | SHF(L)-140-1213 | SHF-50060 | F | 1 1/2 | 1 5/8 | 118.462 | 138.6231
N40C12G | 1 3/8 | 1 5/8 | F | 125.0594 | 146.3433 | SHF(L)-140-1113 | SHF-50059 | F | 1 3/8 | 1 5/8 | 118.462 | 138.6231
N40C14G | 1 5/8 | 1 5/8 | F | 125.0594 | 146.3433 | SHF(L)-140-1313 | SHF-50061 | F | 1 5/8 | 1 5/8 | 118.462 | 138.6231
N50C10G | 1 1/2 | 2 1/8 | F | 149.1876 | 174.5779 | SHF(L)-175-1217 | SHF-50020 | F | 1 1/2 | 2 1/8 | 143.0063 | 167.3447
N60C10G | 1 5/8 | 2 5/8 | F | 186.5311 | 218.277 | SHF(L)-210-1321 | SHF-50021 | F | 1 5/8 | 2 5/8 | 171.2019 | 200.3389
V0-406050100 | 5/16 | 3/8 | A1 | 3.8811 | 4.5417 | SHF(L)-4H-23U-51 | SHF-19008 | A1 | 5/16 | 3/8 | 3.2455 | 3.7979
V10-414080100 | 1/2 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-47-02 | SHF-50044 | D1 | 1/2 | 7/8 | 29.8183 | 34.8931
V10-414080200 | 1/2 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-47-02 | SHF-50044 | D1 | 1/2 | 7/8 | 29.8183 | 34.8931
V10-414100100 | 5/8 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-57-02 | SHF-50045 | D1 | 5/8 | 7/8 | 29.8183 | 34.8931
V10-414100200 | 5/8 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-57-02 | SHF-50045 | D1 | 5/8 | 7/8 | 29.8183 | 34.8931
V10-414120100 | 3/4 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-67-04 | SHF-50027 | D1 | 3/4 | 7/8 | 29.8183 | 34.8931
V10-414120200 | 3/4 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-67-04 | SHF-50027 | D1 | 3/4 | 7/8 | 29.8183 | 34.8931
V10-414140400 | 7/8 | 7/8 | D1 | 28.5616 | 33.4225 | SHF-35B-77-TR | TBD | D1 | 7/8 | 7/8 | 29.8183 | 34.8931
V10-418080200 | 1/2 | 1 1/8 | D1 | 28.5616 | 33.4225 | SHF-35B-59-04 | SHF-50046 | D1 | 5/8 | 1 1/8 | 29.8183 | 34.8931
V10-418100200 | 5/8 | 1 1/8 | D1 | 28.5616 | 33.4225 | SHF-35B-59-04 | SHF-50046 | D1 | 5/8 | 1 1/8 | 29.8183 | 34.8931
V10-418120200 | 3/4 | 1 1/8 | D1 | 28.5616 | 33.4225 | SHF-35B-69-04 | SHF-50047 | D1 | 3/4 | 1 1/8 | 29.8183 | 34.8931
V10-418140100 | 7/8 | 1 1/8 | D1 | 28.5616 | 33.4225 | SHF-35B-79-04 | SHF-50048 | D1 | 7/8 | 1 1/8 | 29.8183 | 34.8931
V10-418140200 | 7/8 | 1 1/8 | D1 | 28.5616 | 33.4225 | SHF-35B-79-04 | SHF-50048 | D1 | 7/8 | 1 1/8 | 29.8183 | 34.8931
V12-4220T0200 | 1 1/8 | 1 3/8 | E | 36.4617 | 42.6671 | SHF-50-911D2 | SHF-50016 | E | 1 1/8 | 1 3/8 | 37.5265 | 43.9131
V1-406050100 | 5/16 | 3/8 | D1 | 4.2556 | 4.9799 | SHF(G)-7C-34 | SHF-19010 | C1 | 3/8 | 1/2 | 5.8825 | 6.8837
V1-406060100 | 3/8 | 3/8 | D1 | 4.2556 | 4.9799 | SHF(G)-7C-34 | SHF-19010 | C1 | 3/8 | 1/2 | 5.8825 | 6.8837
V1-408050100 | 5/16 | 1/2 | D1 | 4.2556 | 4.9799 | SHF(G)-7C-34 | SHF-19010 | C1 | 3/8 | 1/2 | 5.8825 | 6.8837
V1-408060100 | 3/8 | 1/2 | D1 | 4.2556 | 4.9799 | SHF(G)-7C-34 | SHF-19010 | C1 | 3/8 | 1/2 | 5.8825 | 6.8837
V1-406050200 | 5/16 | 3/8 | A1 | 4.2556 | 4.9799 | SHF(L)-4H-23U-51 | SHF-19008 | A1 | 5/16 | 3/8 | 3.2455 | 3.7979
V1-406060200 | 3/8 | 3/8 | A1 | 4.2556 | 4.9799 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
V2-408050100 | 5/16 | 1/2 | D1 | 5.1067 | 5.9758 | SHF(L)-7H-35-51 | SHF-19011 | D2 | 3/8 | 5/8 | 5.8825 | 6.8837
V2-408060100 | 3/8 | 1/2 | D1 | 5.1067 | 5.9758 | SHF(G)-7C-34 | SHF-19010 | C1 | 3/8 | 1/2 | 5.8825 | 6.8837
V2-408060200 | 3/8 | 1/2 | A1 | 5.1067 | 5.9758 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
V2-408050200 | 5/16 | 1/2 | A1 | 5.1067 | 5.9758 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
V2-406060200 | 3/8 | 3/8 | A1 | 5.1067 | 5.9758 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
V2-406040200 | 1/4 | 3/8 | A1 | 5.1067 | 5.9758 | SHF(G)-7C-34U | SHF-19009 | A2 | 3/8 | 1/2 | 5.8825 | 6.8837
V2-408060300 | 3/8 | 1/2 | D2 | 5.1067 | 5.9758 | SHF(L)-7H-35-51 | SHF-19011 | D2 | 3/8 | 5/8 | 5.8825 | 6.8837
V2-410060300 | 3/8 | 5/8 | D2 | 5.847 | 6.8421 | SHF(L)-7H-35-51 | SHF-19011 | D2 | 3/8 | 5/8 | 5.8825 | 6.8837
V2-410080300 | 1/2 | 5/8 | D2 | 5.847 | 6.8421 | SHF(L)-7H-35-51 | SHF-19011 | D2 | 3/8 | 5/8 | 5.8825 | 6.8837
V2-410060400 | 3/8 | 5/8 | A3 | 5.847 | 6.8421 | SHF(L)-11H-35U-51 | SHF-19013 | A3 | 3/8 | 5/8 | 9.1281 | 10.6816
V3-410060700 | 3/8 | 5/8 | C2 | 7.2631 | 8.4992 | SHF(L)-11H-35U-51 | SHF-19013 | A3 | 3/8 | 5/8 | 9.1281 | 10.6816
V3-410080700 | 1/2 | 5/8 | C2 | 7.2631 | 8.4992 | SHF(L)-11H-45D1-51 | SHF-19014 | C2 | 1/2 | 5/8 | 9.1281 | 10.6816
V3-412060800 | 3/8 | 3/4 | C2 | 8.7033 | 10.1845 | SHF(L)-11H-46D1-51 | SHF-19015 | C2 | 1/2 | 3/4 | 9.1281 | 10.6816
V3-412080800 | 1/2 | 3/4 | C2 | 8.7033 | 10.1845 | SHF(L)-11H-46D1-51 | SHF-19015 | C2 | 1/2 | 3/4 | 9.1281 | 10.6816
V6-412060100 | 3/8 | 3/4 | D1 | 16.2441 | 19.0087 | SHF-20D-46-02 | SHF-50022 | D1 | 1/2 | 3/4 | 19.2704 | 22.55
V6-412080100 | 1/2 | 3/4 | D1 | 16.2441 | 19.0087 | SHF-20D-46-02 | SHF-50022 | D1 | 1/2 | 3/4 | 19.2704 | 22.55
V6-414080100 | 1/2 | 7/8 | D1 | 16.2441 | 19.0087 | SHF-20D-47-02 | SHF-50041 | D1 | 1/2 | 7/8 | 20.0817 | 23.4995
V6-414100100 | 5/8 | 7/8 | D1 | 16.2441 | 19.0087 | SHF-20D-57-02 | SHF-50042 | D1 | 5/8 | 7/8 | 20.0817 | 23.4995
V6-414120100 | 3/4 | 7/8 | D1 | 16.2441 | 19.0087 | SHF-20D-67-02 | SHF-50043 | D1 | 3/4 | 7/8 | 20.0817 | 23.4995
VH10120 | 1 | 1 1/4 | F | 57.0207 | 66.7251 | SHF(L)-70-810-01 | SHF-50024 | F | 1 | 1 1/4 | 57.8111 | 67.65
VH10122 | 1 1/8 | 1 3/8 | F | 57.0207 | 66.7251 | SHF(L)-100-911-01 | SHF-50054 | F | 1 1/8 | 1 3/8 | 82.1526 | 96.1342
VH15120 | 1 1/4 | 1 1/2 | D1 | 83.6148 | 97.8452 | SHF(L)-100-1012 | SHF-50018 | D1 | 1 1/4 | 1 1/2 | 82.1526 | 96.1342
VH15122 | 1 1/4 | 1 1/2 | F | 83.6148 | 97.8452 | SHF(L)-100-1012-01 | SHF-50025 | F | 1 1/4 | 1 1/2 | 82.1526 | 96.1342
VH20321 | 1 1/2 | 1 3/4 | F | 116.5417 | 136.376 | SHF(L)-140-1214 | SHF-50019 | F | 1 1/2 | 1 3/4 | 118.462 | 138.6231
VH20322 | 1 5/8 | 1 5/8 | F | 116.5417 | 136.376 | SHF(L)-140-1313 | SHF-50061 | F | 1 1/2 | 1 3/4 | 118.462 | 138.6231
VH90120 | 1 1/2 | 2 1/8 | F | 141.9491 | 166.1076 | SHF(L)-175-1217 | SHF-50020 | F | 1 1/2 | 2 1/8 | 143.0063 | 167.3447
VH90121 | 1 3/4 | 2 1/8 | F | 141.9491 | 166.1076 | SHF(L)-175-1217 | SHF-50020 | F | 1 1/2 | 2 1/8 | 143.0063 | 167.3447
VH91120 | 1 5/8 | 2 5/8 | F | 169.8119 | 198.7123 | SHF(L)-210-1321 | SHF-50021 | F | 1 5/8 | 2 5/8 | 171.2019 | 200.3389
[6 empty] | SHF(L)-350-1721 | SHF-50031 | F | 2 1/8 | 2 5/8 | 280.7386 | 328.5177
[6 empty] | SHF(L)-420-2125 | SHF-50032 | F | 2 5/8 | 3 1/8 | 359.0371 | 420.1419
Condition: 54,4 °C condensing / 7,2°C evaporating / 5°C super-heat / 5°C sub-cooling

## COIL
Cross Reference
4 WAYS REVERSING VALVES - COIL
Note: Sanhua declines all the responsabilities for a wrong product choise based on this table
DANFOSS / SAGINOMIYA | [5 empty] | RANCO | [5 empty] | SANHUA
Name | Part Number | Connection Type | Power Supply | Rated Voltage | Cable Lenght (mm) | Name | Part Number | Connection Type | Power Supply | Rated Voltage | Cable Lenght (mm) | Name | Part Number | Connection Type | Power Supply | Rated Voltage | Cable Lenght (mm)
STF-01AJ506B1 | 061L2093 | Lead Wires | AC | 208-240 | 600 | [6 empty] | SQ-A25 22G-00 0001 | SHF-56001 | Lead Wires | AC | 220-240 | 500
[12 empty] | SQ-A25 200-00 0001 | SHF-56002 | Lead Wires | AC | 200 | 500
[12 empty] | SQ-A25 100-00 0001 | SHF-56003 | Lead Wires | AC | 100 | 500
[12 empty] | SQ-A25 11A-00 0001 | SHF-56004 | Lead Wires | AC | 110-120 | 500
STF-01AB500A1 | 061L2092 | Lead Wires | AC | 24 | 600 | [6 empty] | SQ-A25 024-00 0001 | SHF-56005 | Lead Wires | AC | 24 | 500
[12 empty] | SQ-A25 26H-00 0001 | SHF-56006 | Lead Wires | AC | 265-277 | 500
STF-01AJ504F1 | 061L2094 | Lead Wires | AC | 208-240 | 1200 | [6 empty] | SQ-A25 22G-00 0870 | SHF-56024 | Lead Wires | AC | 220-240 | 1500
[12 empty] | SQ-A25 11A-00 0840 | SHF-56025 | Lead Wires | AC | 110-120 | 1500
STF-01AB503B1 | 061L2038 | Lead Wires | AC | 24 | 1200 | [6 empty] | SQ-A25 024-00 0161 | SHF-56009 | Lead Wires | AC | 24 | 1500
STF-01AJ512D1 | 061L2095 | Lead Wires | AC | 220-240 | 2000
[12 empty] | SQ-A44 22G-00 0771 | SHF-56012 | Spade (Faston) 4) | AC | 220-240 | -
[12 empty] | SQ-A44 220-00 0001 | SHF-56013 | Spade (Faston) 4) | AC | 220 | -
[12 empty] | SQ-A44 11B-00 0001 | SHF-56014 | Spade (Faston) 4) | AC | 120 | -
[12 empty] | SQ-A44 10A-00 0001 | SHF-56015 | Spade (Faston) 4) | AC | 100-110 | -
[12 empty] | SQ-A44 024-00 0771 | SHF-56016 | Spade (Faston) 4) | AC | 24 | -
[12 empty] | SQ-A44 26H-00 0831 | SHF-56017 | Spade (Faston) 4) | AC | 265-277 | -
[12 empty] | SQ-D44 012-00 0001 | SHF-56019 | Spade (Faston) 4) | DC | 12 | -
[12 empty] | SQ-D44 024-00 0001 | SHF-56020 | Spade (Faston) 4) | DC | 24 | -
[12 empty] | SQ-A27 100-00 0001 | SHF-56021 | Bistable/Lead W. | AC | 100 | 500
[12 empty] | SQ-A27 200-00 0001 | SHF-56022 | Bistable/Lead W. | AC | 200 | 500
[12 empty] | SQ-A27 20K-00 0001 | SHF-56027 | Bistable/Lead W. | AC | 220-240 | 500
[12 empty] | SQ-D27 012-00 0001 | SHF-56023 | Bistable/Lead W. | DC | 12 | 500